## Read me
Greenscape pick list generator — the logic, in full
Every sheet in this workbook was generated from the tool itself, so it always matches what the tool
really does rather than a description of it.
WHERE TO START
"Check these" is the sheet that matters most. It lists every place the tool had to infer, substitute
or assume something, with the reason and what to confirm. If you only review one sheet, review that.
"Rules" is the decision logic in plain English, section by section.
"Quantity rules" lists every quantity instruction found in the picking spreadsheet and shows exactly
how the tool resolves each one. 41 of the 46 resolve to a number; the other 5 deliberately defer to
the EasyPV mounting figures.
The remaining sheets are the lookup tables themselves — every product and every part it pulls.
HOW TO SEND CORRECTIONS
Type in the "Correct?" column on any sheet: leave blank if right, or write what it should be.
Send the workbook back and the changes go straight into the tool.
ROWS SHADED ORANGE need a decision from you. Everything else is taken from your own data:
the picking spreadsheet (Wasp Picking Tool 15.10.2024) and the item master (Items_20260813, 1,850 items).
WHAT IS NOT IN HERE
How the PDFs are read, and the styling. Those are mechanics, not picking logic.

## Rules
The decision logic, in plain English
One row per rule. The last column is where the tool made a judgement call rather than following your data outright.
Section | Rule | What the tool does | Judgement call / caveat | Correct?
Block 1 — Roof & mounting | Which parts | Driven by the tile type of each roof, from the Roof List in your spreadsheet. Up to 3 roofs, each with its own tile type and hook count.
| Roof hooks | Taken from the EasyPV structural calculation ("With 44 roof hooks..."), per roof. 20% uplift is added only if the uplift box is ticked (landscape). | Your spreadsheet applies x1.2 unconditionally; the handover says the calc already includes it. Handover followed.
| Clamps / end caps / splices / rail | From the EasyPV parts list if it has one: clamps x1.2 rounded to nearest 2, splices +1 (min 4), rails +1, end caps as stated. With no parts list they are estimated from the layout and marked CHECK. | Estimated whenever the EasyPV export has no parts-list page.
| Flashing | 1 per roof.
| MC4 connectors | 1 pack per string, plus 1. | Your Roof List says "1 Pack Per String +1"; the Roof Kit Builder cell computes 1+(2 x flashings). Documented rule followed.
| Bird proofing | Reel x1 plus 10 clips per panel, only when bird or pigeon proofing is on the quote.
| Arc boxes | 2 per string, only when the Advanced DC Safety Package is on the quote.
| Panels | Matched from the quote to a Wasp panel code. Wattage is matched even when buried in a model code (2488 = Sunpower SPR-P7-510).
Block 2 — Inverter | Which kit | The exact inverter from the quote. Where the quote gives no rating, the kW is read from the EasyPV model code (S6-EH1P-10K = 10kW).
| Quantity | The inverter line multiplies by the number of inverters; its ancillaries follow their own rules.
| If it cannot be matched | Nothing is exploded and it is flagged. The tool never substitutes a different rating.
Block 3 — Battery | Which kit | The exact battery from the quote.
| Quantity | A plain number against the battery means one per battery sold. Rule-driven quantities (per kWh, quantity sold) are used as written.
| Fox junction box | 1 per 4 batteries, none for a single battery.
| IntelliHome 10/16kWh | 1 battery: nothing extra. 2-4: 2 busbars, 2 boxes, 2m cable pair, 10 lugs. 5-8: 8-way busbars, 20 lugs.
| IntelliHome 5kWh | Batteries plus 2 x 32mm M6 ring lugs per install, not per battery.
Block 4 — Additional items | Which parts | Whatever is ticked, each with its own quantity. A plain number scales with that item's quantity.
| Gateway enclosure | The Schneider IP66 panel on the Sigenergy gateway is picked only when the gateway goes outside. Unanswered means it is included, flagged.
Car charging | Which parts | The charger unit only, from a list of 19. No ancillaries. | The old entries also carried a harvi, CT clamps, RCBO, henley block, tails and IP fuseboard. Confirm whether a kit should be attached.
| EV to bypass battery | Adds a 6 way fuseboard, a spare 2m set of meter tails and a brown single pole henley block. One set per install.
Tigo | Optimisers | One per panel, so it defaults to the panel count. Editable if fewer were sold.
| Monitoring kit | 1 Tigo kit (1120), plus 1 TAP (2462) per additional array — the kit carries the first array's TAP.
Fuseboards | Which range | Indoors = Fusebox. Outdoors = Wiska.
| Ways needed | 3 for the first inverter, +2 for each further inverter, +1 per EV charger.
| Board size | A Fusebox's stated size is usable ways. A Wiska loses 3 ways to its SPD and main switch, so 3 are added before choosing. Smallest board that fits wins. | Only the 6 and 12 way Wiska are used. Anything past one inverter outdoors jumps to the 12 way.
| Gateway sold | No board for the solar. The EV charger still gets one. Auto-detected from a ticked gateway or a Tesla Powerwall kit.
| No gateway + EV bypass | Two boards, separating solar from EV. Same size becomes one line of qty 2. | Both boards use the same range. If only one goes outside, swap it by hand.
| Fuseboard pack | The pack supplies ancillaries only. Its own consumer unit is dropped so you never get two boards.
Every pick | Standing line | 2219 Pick Order Issued, quantity 1.
Every pick | Retired stock | Any item the master list marks obsolete or do-not-pick is swapped for the replacement named in its description, or held back as TBC if none is named.
Export | Format | Your WaspImportTemplate.xlsx with the Check Out sheet filled in — all 15 sheets, tables and validations intact. The table range grows with the data.
| Columns | Item Number, Quantity, Due Date and Notes are populated. Location, Site and Customer Number are left empty. | You asked for those three fields to be removed, so they are blank on every row.
| Excluded rows | Anything without a Wasp code, or with a quantity of zero or blank, is left out of the import and flagged.

## Check these
Everywhere the tool made a judgement call
These are the places your data was silent, inconsistent, or contradicted itself. Each one is flagged on the pick list too. This is the sheet to review first.
Area | Where | What the tool does | Why it needs your eye | Correct?
Battery | Solis IntelliHome 10kWh (5-8 batteries) | 1840 8 Way Busbar | the 10kWh row of the review said this has no Wasp pick yet and asked for a flag; the 16kWh row said it was correct. Kept, flagged, pending a decision
Battery | Solis IntelliHome 16kWh (5-8 batteries) | 1840 8 Way Busbar | the 10kWh row of the review said this has no Wasp pick yet and asked for a flag; the 16kWh row said it was correct. Kept, flagged, pending a decision
Car charging | EV to bypass battery | 6 way board, code chosen by location | sized as a 6 way and taken from the same range as the main board — Fusebox indoors, Wiska Indubox outdoors
Car charging | Protection with every charger | 2237 Fusebox 32A 1P+N 1 Module B Curve 6kA 30mA Type A RCBO | 2237 is the code the old charger entries used, but it shows none in stock; 2600 (32A C curve Type A RCBO DP, 8 held) and 2397 (bidirectional, 25 held) are the alternatives
Fuseboards | 3 Phase pack | 2153 Flexi Tails 25mm² Brown/Brown per metre | 2x 3m of a per-metre code, read as 6 metres — say if it should be qty 2
Fuseboards | 3 Phase pack | 2328 FuseBox MT10B063 Triple Pole 6A 10kA B Curve MCB | 2328 is the B curve (3 held); 2736 is the Fusebox 6A triple pole C curve but has none
Car charging | Tesla Wall Connector rule | Cannot fire — 1898 is not in the charger list | You said the Tesla Wall Connector takes a Matt:e unit and a 40A MCB instead of the RCBO. The rule is coded, but 1898 was not in the 19 codes you gave, so no charger can trigger it. Add 1898 to the charger list if you want it available.
Car charging | EV bypass board outdoors | A 6 way requirement becomes a 12 way Wiska | The Wiska range only has 6 and 12 way, and loses 3 ways to its SPD and main switch, so a 6 way requirement needs 9 and jumps to the 12 way.
Fuseboards | 1153 Europa enclosure | No longer used anywhere | You said it is obsolete stock. Wasp does not mark it obsolete, so it is worth flagging it in Wasp too, otherwise someone can still pick it by hand.
Export | End-to-end Wasp import | Your template, Check Out sheet, real dates and numbers | You asked for it formatted so the pick is done once the file is uploaded. Everything verifiable from here checks out, but only a live import can confirm Wasp accepts it. Worth doing on a job already picked by hand.
Export | Site / Location / Customer Number | Optional fields, populated when filled | Back as optional inputs and written to the export when given, with no blocking flags. Confirm Wasp accepts rows where they are blank.
Block 1 | Mounting quantities | Manual entry, autofilled when EasyPV has a parts list | This is what you asked for and is how it already behaved. The estimate still applies when no parts list exists and every estimated line is flagged.

## Quantity rules
Every quantity instruction, and how the tool reads it
Worked against a sample job: 20 panels, 2 strings, 1 roof, 1 inverter, 3 batteries totalling 16kWh, 44 hooks, 20 optimisers. The 5 that do not resolve are the EasyPV mounting figures, which come from the roof section instead.
Rule as written in your spreadsheet | Resolves to | How it was worked out | Flagged? | Correct?
1 | 1
1 (ONLY IF QUOTED) | 1 | 1 (ONLY IF QUOTED) | CHECK
1 If Existing PV On Site | 1 | 1 If Existing PV On Site | CHECK
1 If Gateway is to be installed outside | 1 | 1 If Gateway is to be installed outside | CHECK
1 If system hasn’t been sold with BackUp Gateway | 1 | 1 If system hasn’t been sold with BackUp Gateway | CHECK
1 If system location is level and concrete | 1 | 1 If system location is level and concrete | CHECK
1 If system location is not level and concrete | 1 | 1 If system location is not level and concrete | CHECK
1 Pack Per String +1 | 3 | 2 strings + 1 = 3
1 Per 5kWh Sold | 4 | 16kWh ÷ 5kWh = 4
1 Per Array | 1 | 1 per array × 1
1 Per Every 10 Panels | 2 | 20 panels ÷ 10 per unit, rounded up = 2
1 Per Every 11 Panels | 2 | 20 panels ÷ 11 per unit, rounded up = 2
1 Per Every 16 Panels | 2 | 20 panels ÷ 16 per unit, rounded up = 2
1 Per Panel | 20 | 1 × 20 panels = 20
1 Per Panel (ONLY IF QUOTED) | 20 | 1 × 20 panels = 20
1 Per String | 2 | 1 × 2 strings = 2
1 Set Per Hook | 44 | same as roof hooks = 44
1 per 2.4kWh Sold | 7 | 16kWh ÷ 2.4kWh = 7
1 per 4 Batteries | 1 | 3 batteries ÷ 4 = 1
1 per 4 batteries, none for a single battery | 1 | 3 batteries, 4 per box = 1
1 per 6.8kWh Sold | 3 | 16kWh ÷ 6.8kWh = 3
1 per Inverter | 1 | 1 × 1 inverter(s)
1 per Powerwall 2 | 3 | 1 × 3 unit(s)
10 | 10
2 | 2
2 per String | 4 | 2 × 2 strings = 4
20 | 20
3 | 3
4 | 4
5 | 5
6 | 6
Chosen based on distance from existing PW3 | 1 | Chosen based on distance from existing PW3 | CHECK
No. of Powerwalls minus 1 | 2 | 3 units − 1 = 2
Only if BP sold, 10 per Panel | 200 | 10 × 20 panels = 200
Only if on quote | 1 | Only if on quote | CHECK
Only if sold under Advanced Safety Package, 2 per String | 4 | 2 × 2 strings = 4
Panel Quantity Minus 15 divided by 15 Rounded Up | 1 | (20 − 15) ÷ 15 rounded up = 1
Quantity Required on Easy PV | no — needs a human | Quantity Required on Easy PV | CHECK
Quantity Required on Easy PV Note: Not Mids or End Clamps | no — needs a human | Quantity Required on Easy PV Note: Not Mids or End Clamps | CHECK
Quantity Required on Easy PV + 20% If Landscape | no — needs a human | Quantity Required on Easy PV + 20% If Landscape | CHECK
Quantity Required on Easy PV If panels laid Landscape Note: Not Renusol of K2 | no — needs a human | Quantity Required on Easy PV If panels laid Landscape Note: Not Renusol of K2 | CHECK
Quantity Required on Easy PV If panels laid Portrait Note: Not Renusol of K2 | no — needs a human | Quantity Required on Easy PV If panels laid Portrait Note: Not Renusol of K2 | CHECK
Quantity Sold | 3 | quantity sold = 3
Quantity sold | 3 | quantity sold = 3
Same Quantity as Roof Hooks | 44 | same as roof hooks = 44
Same as PW3X Quantity | 3 | quantity sold = 3

## Inverters
Inverter kits — 112 models
Every inverter and the parts it pulls. Item numbers marked 0 have no code in your spreadsheet and come out as TBC.
Product | Item no. | Description (master list) | Quantity rule | Note / caveat | Correct?
Enphase Micro-Inverters IQ7 | 10106 | Enphase Microinverter IQ7 | 1 Per Panel
| 10133 | Enphase Envoy S Metered | 1
| 10083 | Enphase Q Cable 1ph 1m Portrait (price per connector) | 1 Per Panel
| 1744 | Wiska COMBI 308 85mm x 85mm x 51mm PVC Adaptable Box | 1 Per Every 16 Panels
| 10015 | SCL 32A AC Isolator | 1 Per Every 16 Panels
| 1151 | 45a Single Din Rail Gen Meter | 1
| 2321 | Fusebox 20A Single Pole 6kA B Curve MCB | 1 Per Every 16 Panels
Enphase Micro-Inverters IQ7A | 1063 | Enphase Microinverter IQ7A | 1 Per Panel
| 10133 | Enphase Envoy S Metered | 1
| 10083 | Enphase Q Cable 1ph 1m Portrait (price per connector) | 1 Per Panel
| 1744 | Wiska COMBI 308 85mm x 85mm x 51mm PVC Adaptable Box | 1 Per Every 11 Panels
| 10015 | SCL 32A AC Isolator | 1 Per Every 11 Panels
| 1151 | 45a Single Din Rail Gen Meter | 1
| 2321 | Fusebox 20A Single Pole 6kA B Curve MCB | 1 Per Every 11 Panels
Enphase Micro-Inverters IQ8HC | 1940 | Enphase Microinvereter IQ8HC | 1 Per Panel
| 10133 | Enphase Envoy S Metered | 1
| 10083 | Enphase Q Cable 1ph 1m Portrait (price per connector) | 1 Per Panel
| 1744 | Wiska COMBI 308 85mm x 85mm x 51mm PVC Adaptable Box | 1 Per Every 10 Panels
| 10015 | SCL 32A AC Isolator | 1 Per Every 10 Panels
| 1151 | 45a Single Din Rail Gen Meter | 1
| 2321 | Fusebox 20A Single Pole 6kA B Curve MCB | 1 Per Every 10 Panels
FoxESS 0.7kW 1ph String Inverter | 0 | FoxESS 0.7kW 1ph String Inverter | 1
| 10015 | SCL 32A AC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 1
| 2320 | Fusebox 6A Single Pole 6kA B Curve MCB | 1
| 1151 | 45a Single Din Rail Gen Meter | 1
| 2036 | Fox CT Clamp (compatible with AC, HY & AIO ranges) | 1
FoxESS 1.5kW 1ph String Inverter | 0 | FoxESS 1.5kW 1ph String Inverter | 1
| 10015 | SCL 32A AC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 1
| 2321 | Fusebox 20A Single Pole 6kA B Curve MCB | 1
| 1151 | 45a Single Din Rail Gen Meter | 1
| 2036 | Fox CT Clamp (compatible with AC, HY & AIO ranges) | 1
FoxESS 10.5kW 1ph Hybrid Inverter | 0 | FoxESS 10.5kW 1ph Hybrid Inverter | 1
| 10017 | SCL 63A 4P IP65 ENC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 4
| 2323 | Fusebox 50A Single Pole 6kA B Curve MCB | 1
| 1152 | 100a Single Din Rail Gen Meter YTL DEM1A001 | 1
FoxESS 10.5kW 1ph String Inverter | 0 | FoxESS 10.5kW 1ph String Inverter | 1
| 10017 | SCL 63A 4P IP65 ENC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 3
| 2323 | Fusebox 50A Single Pole 6kA B Curve MCB | 1
| 1152 | 100a Single Din Rail Gen Meter YTL DEM1A001 | 1
FoxESS 10kW 1ph Hybrid Inverter | 2021 | Do not use. Fox 10kW K Series Single Phase Hybrid Inverter - Use 2177 instead. | 1
| 10017 | SCL 63A 4P IP65 ENC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 4
| 2323 | Fusebox 50A Single Pole 6kA B Curve MCB | 1
| 1152 | 100a Single Din Rail Gen Meter YTL DEM1A001 | 1
FoxESS 10kW 1ph String Inverter | 0 | FoxESS 10kW 1ph String Inverter | 1
| 10017 | SCL 63A 4P IP65 ENC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 3
| 2323 | Fusebox 50A Single Pole 6kA B Curve MCB | 1
| 1152 | 100a Single Din Rail Gen Meter YTL DEM1A001 | 1
FoxESS 10kW 3ph AC Coupled Inverter | 2143 | Fox AC 10.0kW Three Phase Charger Inverter | 1
| 10017 | SCL 63A 4P IP65 ENC Isolator | 1
| 2329 | FuseBox MT10B163 Triple Pole 16A 10kA B Curve MCB | 1
FoxESS 10kW 3ph Hybrid Inverter | 0 | FoxESS 10kW 3ph Hybrid Inverter | 1
| 10017 | SCL 63A 4P IP65 ENC Isolator | 1
| 2329 | FuseBox MT10B163 Triple Pole 16A 10kA B Curve MCB | 1
| 10144 | DC isolator 32A ISDC432 | 3
| 1121 | Emlite Generation Meter - 3 Phase 100amp | 1
FoxESS 10kW 3ph String Inverter | 0 | FoxESS 10kW 3ph String Inverter | 1
| 10017 | SCL 63A 4P IP65 ENC Isolator | 1
| 2329 | FuseBox MT10B163 Triple Pole 16A 10kA B Curve MCB | 1
| 10144 | DC isolator 32A ISDC432 | 2
| 1121 | Emlite Generation Meter - 3 Phase 100amp | 1
FoxESS 12kW 3ph Hybrid Inverter | 0 | FoxESS 12kW 3ph Hybrid Inverter | 1
| 10017 | SCL 63A 4P IP65 ENC Isolator | 1
| 2330 | FuseBox MT10B323 Triple Pole 32A 10kA B Curve MCB | 1
| 10144 | DC isolator 32A ISDC432 | 3
| 1121 | Emlite Generation Meter - 3 Phase 100amp | 1
FoxESS 12kW 3ph String Inverter | 0 | FoxESS 12kW 3ph String Inverter | 1
| 10017 | SCL 63A 4P IP65 ENC Isolator | 1
| 2330 | FuseBox MT10B323 Triple Pole 32A 10kA B Curve MCB | 1
| 10144 | DC isolator 32A ISDC432 | 2
| 1121 | Emlite Generation Meter - 3 Phase 100amp | 1
FoxESS 15kW 3ph String Inverter | 0 | FoxESS 15kW 3ph String Inverter | 1
| 10017 | SCL 63A 4P IP65 ENC Isolator | 1
| 2330 | FuseBox MT10B323 Triple Pole 32A 10kA B Curve MCB | 1
| 10144 | DC isolator 32A ISDC432 | 4
| 1121 | Emlite Generation Meter - 3 Phase 100amp | 1
FoxESS 17kW 3ph String Inverter | 0 | FoxESS 17kW 3ph String Inverter | 1
| 10017 | SCL 63A 4P IP65 ENC Isolator | 1
| 2330 | FuseBox MT10B323 Triple Pole 32A 10kA B Curve MCB | 1
| 10144 | DC isolator 32A ISDC432 | 4
| 1121 | Emlite Generation Meter - 3 Phase 100amp | 1
FoxESS 1kW 1ph String Inverter | 0 | FoxESS 1kW 1ph String Inverter | 1
| 10015 | SCL 32A AC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 1
| 2320 | Fusebox 6A Single Pole 6kA B Curve MCB | 1
| 1151 | 45a Single Din Rail Gen Meter | 1
| 2036 | Fox CT Clamp (compatible with AC, HY & AIO ranges) | 1
FoxESS 2.5kW 1ph String Inverter | 0 | FoxESS 2.5kW 1ph String Inverter | 1
| 10015 | SCL 32A AC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 2
| 2321 | Fusebox 20A Single Pole 6kA B Curve MCB | 1
| 1151 | 45a Single Din Rail Gen Meter | 1
| 2036 | Fox CT Clamp (compatible with AC, HY & AIO ranges) | 1
FoxESS 20kW 3ph Hybrid Inverter | 0 | FoxESS 20kW 3ph Hybrid Inverter | 1
| 10017 | SCL 63A 4P IP65 ENC Isolator | 1
| 2330 | FuseBox MT10B323 Triple Pole 32A 10kA B Curve MCB | 1
| 10144 | DC isolator 32A ISDC432 | 6
| 1121 | Emlite Generation Meter - 3 Phase 100amp | 1
FoxESS 20kW 3ph String Inverter | 0 | FoxESS 20kW 3ph String Inverter | 1
| 10017 | SCL 63A 4P IP65 ENC Isolator | 1
| 2330 | FuseBox MT10B323 Triple Pole 32A 10kA B Curve MCB | 1
| 10144 | DC isolator 32A ISDC432 | 4
| 1121 | Emlite Generation Meter - 3 Phase 100amp | 1
FoxESS 25kW 3ph Hybrid Inverter | 0 | FoxESS 25kW 3ph Hybrid Inverter | 1
| 10017 | SCL 63A 4P IP65 ENC Isolator | 1
| 2331 | FuseBox MT10B403 Triple Pole 40A 10kA B Curve MCB | 1
| 10144 | DC isolator 32A ISDC432 | 6
| 1121 | Emlite Generation Meter - 3 Phase 100amp | 1
FoxESS 25kW 3ph String Inverter | 0 | FoxESS 25kW 3ph String Inverter | 1
| 10017 | SCL 63A 4P IP65 ENC Isolator | 1
| 2331 | FuseBox MT10B403 Triple Pole 40A 10kA B Curve MCB | 1
| 10144 | DC isolator 32A ISDC432 | 4
| 1121 | Emlite Generation Meter - 3 Phase 100amp | 1
FoxESS 2kW 1ph String Inverter | 0 | FoxESS 2kW 1ph String Inverter | 1
| 10015 | SCL 32A AC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 2
| 2321 | Fusebox 20A Single Pole 6kA B Curve MCB | 1
| 1151 | 45a Single Din Rail Gen Meter | 1
| 2036 | Fox CT Clamp (compatible with AC, HY & AIO ranges) | 1
FoxESS 3.6kW 1ph String Inverter | 2068 | Fox ESS 3.6kW F Series 1PH Dual Tracker PV Inverter | 1
| 10015 | SCL 32A AC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 2
| 2321 | Fusebox 20A Single Pole 6kA B Curve MCB | 1
| 1151 | 45a Single Din Rail Gen Meter | 1
| 2036 | Fox CT Clamp (compatible with AC, HY & AIO ranges) | 1
FoxESS 3.7kW 1ph AC Coupled Inverter | 0 | FoxESS 3.7kW 1ph AC Coupled Inverter | 1
| 10015 | SCL 32A AC Isolator | 1
| 2321 | Fusebox 20A Single Pole 6kA B Curve MCB | 1
| 2036 | Fox CT Clamp (compatible with AC, HY & AIO ranges) | 1
FoxESS 3.7kW 1ph Hybrid Inverter | 2018 | Fox H1 3.7kW Hybrid Inverter 1PH G2 | 1
| 10015 | SCL 32A AC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 2
| 2321 | Fusebox 20A Single Pole 6kA B Curve MCB | 1
| 1151 | 45a Single Din Rail Gen Meter | 1
FoxESS 30kW 3ph Hybrid Inverter | 0 | FoxESS 30kW 3ph Hybrid Inverter | 1
| 10017 | SCL 63A 4P IP65 ENC Isolator | 1
| 2332 | FuseBox MT10B503 Triple Pole 50A 10kA B Curve MCB | 1
| 10144 | DC isolator 32A ISDC432 | 6
| 1121 | Emlite Generation Meter - 3 Phase 100amp | 1
FoxESS 3kW 1ph Hybrid Inverter | 2017 | Fox H1 3.0kW Hybrid Inverter | 1
| 10015 | SCL 32A AC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 2
| 2321 | Fusebox 20A Single Pole 6kA B Curve MCB | 1
| 1151 | 45a Single Din Rail Gen Meter | 1
FoxESS 3kW 1ph String Inverter | 2056 | Fox 3kW Grid Tied String Inverter 1ph | 1
| 10015 | SCL 32A AC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 2
| 2321 | Fusebox 20A Single Pole 6kA B Curve MCB | 1
| 1151 | 45a Single Din Rail Gen Meter | 1
| 2036 | Fox CT Clamp (compatible with AC, HY & AIO ranges) | 1
FoxESS 5kW 1ph AC Coupled Inverter | 2022 | Fox AC 5.0kW Charger Inverter | 1
| 10015 | SCL 32A AC Isolator | 1
| 2275 | Fusebox 32A B type MCB 6ka 1P | 1
| 2036 | Fox CT Clamp (compatible with AC, HY & AIO ranges) | 1
FoxESS 5kW 1ph Hybrid Inverter | 2038 | Fox H1 5.0kW Hybrid Inverter G2 | 1
| 10015 | SCL 32A AC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 2
| 2275 | Fusebox 32A B type MCB 6ka 1P | 1
| 1151 | 45a Single Din Rail Gen Meter | 1
FoxESS 5kW 1ph String Inverter | 2099 | Fox ESS 5kW F Series 1PH Dual Tracker String Inverter | 1
| 10015 | SCL 32A AC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 2
| 2275 | Fusebox 32A B type MCB 6ka 1P | 1
| 1151 | 45a Single Din Rail Gen Meter | 1
| 2036 | Fox CT Clamp (compatible with AC, HY & AIO ranges) | 1
FoxESS 6kW 1ph Hybrid Inverter | 1944 | Fox H1 6.0kW Hybrid Inverter G2 | 1
| 10015 | SCL 32A AC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 2
| 2275 | Fusebox 32A B type MCB 6ka 1P | 1
| 1151 | 45a Single Din Rail Gen Meter | 1
FoxESS 6kW 1ph Hybrid Inverter | 1944 | Fox H1 6.0kW Hybrid Inverter G2 | 1
| 10015 | SCL 32A AC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 2
| 2275 | Fusebox 32A B type MCB 6ka 1P | 1
| 1151 | 45a Single Din Rail Gen Meter | 1
FoxESS 6kW 1ph String Inverter | 1944 | Fox H1 6.0kW Hybrid Inverter G2 | 1
| 10015 | SCL 32A AC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 2
| 2275 | Fusebox 32A B type MCB 6ka 1P | 1
| 1151 | 45a Single Din Rail Gen Meter | 1
| 2036 | Fox CT Clamp (compatible with AC, HY & AIO ranges) | 1
FoxESS 6kW 3ph Hybrid Inverter | 2102 | Fox 3 phase 6.0kW Hybrid Inverter | 1
| 10017 | SCL 63A 4P IP65 ENC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 2
| 2329 | FuseBox MT10B163 Triple Pole 16A 10kA B Curve MCB | 1
| 1121 | Emlite Generation Meter - 3 Phase 100amp | 1
FoxESS 7kW 1ph Hybrid Inverter | 2019 | Fox 7kW K Series Single Phase Hybrid Inverter | 1
| 10017 | SCL 63A 4P IP65 ENC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 3
| 2322 | Fusebox 40A Single Pole 6kA B Curve MCB | 1
| 1151 | 45a Single Din Rail Gen Meter | 1
FoxESS 7kW 1ph String Inverter | 0 | FoxESS 7kW 1ph String Inverter | 1
| 10017 | SCL 63A 4P IP65 ENC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 3
| 2322 | Fusebox 40A Single Pole 6kA B Curve MCB | 1
| 1151 | 45a Single Din Rail Gen Meter | 1
FoxESS 8kW 1ph Hybrid Inverter | 2020 | Fox 8kW K Series Single Phase Hybrid Inverter | 1
| 10017 | SCL 63A 4P IP65 ENC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 3
| 2322 | Fusebox 40A Single Pole 6kA B Curve MCB | 1
| 1151 | 45a Single Din Rail Gen Meter | 1
FoxESS 8kW 1ph String Inverter | 0 | FoxESS 8kW 1ph String Inverter | 1
| 10017 | SCL 63A 4P IP65 ENC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 3
| 2322 | Fusebox 40A Single Pole 6kA B Curve MCB | 1
| 1151 | 45a Single Din Rail Gen Meter | 1
FoxESS 8kW 3ph Hybrid Inverter | 0 | FoxESS 8kW 3ph Hybrid Inverter | 1
| 10017 | SCL 63A 4P IP65 ENC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 3
| 2329 | FuseBox MT10B163 Triple Pole 16A 10kA B Curve MCB | 1
| 1121 | Emlite Generation Meter - 3 Phase 100amp | 1
FoxESS 8kW 3ph String Inverter | 0 | FoxESS 8kW 3ph String Inverter | 1
| 10017 | SCL 63A 4P IP65 ENC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 3
| 2329 | FuseBox MT10B163 Triple Pole 16A 10kA B Curve MCB | 1
| 1121 | Emlite Generation Meter - 3 Phase 100amp | 1
FoxESS 9kW 1ph Hybrid Inverter | 0 | FoxESS 9kW 1ph Hybrid Inverter | 1
| 10017 | SCL 63A 4P IP65 ENC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 3
| 2323 | Fusebox 50A Single Pole 6kA B Curve MCB | 1
| 1152 | 100a Single Din Rail Gen Meter YTL DEM1A001 | 1
FoxESS 9kW 1ph String Inverter | 0 | FoxESS 9kW 1ph String Inverter | 1
| 10017 | SCL 63A 4P IP65 ENC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 3
| 2323 | Fusebox 50A Single Pole 6kA B Curve MCB | 1
| 1152 | 100a Single Din Rail Gen Meter YTL DEM1A001 | 1
Huawei Single Phase Hybrid Inverter 2kw | 10092 | Huawei Single Phase Hybrid Inverter 2kw | 1
| 10138 | Huawei Smart Dongle - WiFi | 1
| 10137 | Huawei 450W Smart Optimiser | 1 Per Panel (ONLY IF QUOTED)
| 10148 | Huawei Single Phase Backup Box | 1 (ONLY IF QUOTED)
| 10144 | DC isolator 32A ISDC432 | 2
| 10015 | SCL 32A AC Isolator | 1
| 2321 | Fusebox 20A Single Pole 6kA B Curve MCB | 1
| 1151 | 45a Single Din Rail Gen Meter | 1
| 2320 | Fusebox 6A Single Pole 6kA B Curve MCB | 1
| 10125 | Huawei Single phase smart meter | 1
Huawei Single Phase Hybrid Inverter 3.6kw | 10093 | Huawei Single Phase Hybrid Inverter 3.6kw | 1
| 10138 | Huawei Smart Dongle - WiFi | 1
| 10137 | Huawei 450W Smart Optimiser | 1 Per Panel (ONLY IF QUOTED)
| 10148 | Huawei Single Phase Backup Box | 1 (ONLY IF QUOTED)
| 10144 | DC isolator 32A ISDC432 | 2
| 10015 | SCL 32A AC Isolator | 1
| 2321 | Fusebox 20A Single Pole 6kA B Curve MCB | 1
| 1151 | 45a Single Din Rail Gen Meter | 1
| 2320 | Fusebox 6A Single Pole 6kA B Curve MCB | 1
| 10125 | Huawei Single phase smart meter | 1
Huawei Single Phase Hybrid Inverter 3kw | 10094 | Huawei Single Phase Hybrid Inverter 3kw | 1
| 10138 | Huawei Smart Dongle - WiFi | 1
| 10137 | Huawei 450W Smart Optimiser | 1 Per Panel (ONLY IF QUOTED)
| 10148 | Huawei Single Phase Backup Box | 1 (ONLY IF QUOTED)
| 10144 | DC isolator 32A ISDC432 | 2
| 10015 | SCL 32A AC Isolator | 1
| 2321 | Fusebox 20A Single Pole 6kA B Curve MCB | 1
| 1151 | 45a Single Din Rail Gen Meter | 1
| 2320 | Fusebox 6A Single Pole 6kA B Curve MCB | 1
| 10125 | Huawei Single phase smart meter | 1
Huawei Single Phase Hybrid Inverter 4kw | 1010 | Huawei Single Phase Hybrid Inverter 4kw | 1
| 10138 | Huawei Smart Dongle - WiFi | 1
| 10137 | Huawei 450W Smart Optimiser | 1 Per Panel (ONLY IF QUOTED)
| 10148 | Huawei Single Phase Backup Box | 1 (ONLY IF QUOTED)
| 10144 | DC isolator 32A ISDC432 | 2
| 10015 | SCL 32A AC Isolator | 1
| 10042 | Europa MCB 20amp | 1
| 1151 | 45a Single Din Rail Gen Meter | 1
| 2320 | Fusebox 6A Single Pole 6kA B Curve MCB | 1
| 10125 | Huawei Single phase smart meter | 1
Huawei Single Phase Hybrid Inverter 5kw | 10095 | Huawei Single Phase Hybrid Inverter 5kw | 1
| 10138 | Huawei Smart Dongle - WiFi | 1
| 10137 | Huawei 450W Smart Optimiser | 1 Per Panel (ONLY IF QUOTED)
| 10148 | Huawei Single Phase Backup Box | 1 (ONLY IF QUOTED)
| 10144 | DC isolator 32A ISDC432 | 2
| 10015 | SCL 32A AC Isolator | 1
| 2275 | Fusebox 32A B type MCB 6ka 1P | 1
| 1151 | 45a Single Din Rail Gen Meter | 1
| 2320 | Fusebox 6A Single Pole 6kA B Curve MCB | 1
| 10125 | Huawei Single phase smart meter | 1
Huawei Single Phase Hybrid Inverter 6kw | 10096 | Huawei Single Phase Hybrid Inverter 6kw | 1
| 10138 | Huawei Smart Dongle - WiFi | 1
| 10137 | Huawei 450W Smart Optimiser | 1 Per Panel (ONLY IF QUOTED)
| 10148 | Huawei Single Phase Backup Box | 1 (ONLY IF QUOTED)
| 10144 | DC isolator 32A ISDC432 | 2
| 10015 | SCL 32A AC Isolator | 1
| 2275 | Fusebox 32A B type MCB 6ka 1P | 1
| 1151 | 45a Single Din Rail Gen Meter | 1
| 2320 | Fusebox 6A Single Pole 6kA B Curve MCB | 1
| 10125 | Huawei Single phase smart meter | 1
Huawei Three Phase Hybrid Inverter 10kw | 10097 | Huawei Three Phase Hybrid Inverter 10kw | 1
| 10138 | Huawei Smart Dongle - WiFi | 1
| 10137 | Huawei 450W Smart Optimiser | 1 Per Panel (ONLY IF QUOTED)
| 10149 | Huawei Three Phase Backup Box | 1 (ONLY IF QUOTED)
| 10144 | DC isolator 32A ISDC432 | 2
| 10017 | SCL 63A 4P IP65 ENC Isolator | 1
| 1121 | Emlite Generation Meter - 3 Phase 100amp | 1
| 2329 | FuseBox MT10B163 Triple Pole 16A 10kA B Curve MCB | 1
| 2328 | FuseBox MT10B063 Triple Pole 6A 10kA B Curve MCB | 1
| 10126 | Huawei Three phase smart meter | 1
Huawei Three Phase Hybrid Inverter 4kw | 10098 | Huawei Three Phase Hybrid Inverter 4kw | 1
| 10138 | Huawei Smart Dongle - WiFi | 1
| 10137 | Huawei 450W Smart Optimiser | 1 Per Panel (ONLY IF QUOTED)
| 10149 | Huawei Three Phase Backup Box | 1 (ONLY IF QUOTED)
| 10144 | DC isolator 32A ISDC432 | 2
| 10017 | SCL 63A 4P IP65 ENC Isolator | 1
| 1121 | Emlite Generation Meter - 3 Phase 100amp | 1
| 2329 | FuseBox MT10B163 Triple Pole 16A 10kA B Curve MCB | 1
| 2328 | FuseBox MT10B063 Triple Pole 6A 10kA B Curve MCB | 1
| 10126 | Huawei Three phase smart meter | 1
Huawei Three Phase Hybrid Inverter 5kw | 10099 | Huawei Three Phase Hybrid Inverter 5kw | 1
| 10138 | Huawei Smart Dongle - WiFi | 1
| 10137 | Huawei 450W Smart Optimiser | 1 Per Panel (ONLY IF QUOTED)
| 10149 | Huawei Three Phase Backup Box | 1 (ONLY IF QUOTED)
| 10144 | DC isolator 32A ISDC432 | 2
| 10017 | SCL 63A 4P IP65 ENC Isolator | 1
| 1121 | Emlite Generation Meter - 3 Phase 100amp | 1
| 2329 | FuseBox MT10B163 Triple Pole 16A 10kA B Curve MCB | 1
| 2328 | FuseBox MT10B063 Triple Pole 6A 10kA B Curve MCB | 1
| 10126 | Huawei Three phase smart meter | 1
Huawei Three Phase Hybrid Inverter 6kw | 10100 | Huawei Three Phase Hybrid Inverter 6kw | 1
| 10138 | Huawei Smart Dongle - WiFi | 1
| 10137 | Huawei 450W Smart Optimiser | 1 Per Panel (ONLY IF QUOTED)
| 10149 | Huawei Three Phase Backup Box | 1 (ONLY IF QUOTED)
| 10144 | DC isolator 32A ISDC432 | 2
| 10017 | SCL 63A 4P IP65 ENC Isolator | 1
| 1121 | Emlite Generation Meter - 3 Phase 100amp | 1
| 2329 | FuseBox MT10B163 Triple Pole 16A 10kA B Curve MCB | 1
| 2328 | FuseBox MT10B063 Triple Pole 6A 10kA B Curve MCB | 1
| 10126 | Huawei Three phase smart meter | 1
QCell Inverter | 1392 | Q-Cell Q.Volt 5kW Hybrid Inverter H4.6S | 1
| 10015 | SCL 32A AC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 2
| 1728 | Q-Cells Q.HOME-WIFI-DONGLE | 1
| 1151 | 45a Single Din Rail Gen Meter | 1
| 2275 | Fusebox 32A B type MCB 6ka 1P | 1
| 1393 | CHINT EM DDSU666 220/230V 1.5(6)A | 1
| 1394 | CHINT CT BH-0.66 30# 200/5A CLASS 0.5-1 | 1
| 2320 | Fusebox 6A Single Pole 6kA B Curve MCB | 1
Sigenergy Controller EC 5.0 SP, 5.0kW, 1Ph, Hybrid Inverter | 1834 | Sigenergy Controller EC 5.0 SP, 5.0kW, 1Ph, Hybrid Inverter | 1
| 1838 | Sigenergy Communication Module | 1
| 10015 | SCL 32A AC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 2
| 2275 | Fusebox 32A B type MCB 6ka 1P | 1 If system hasn’t been sold with BackUp Gateway
| 1151 | 45a Single Din Rail Gen Meter | 1
| 2354 | Sigenergy Installation Kit For Ground-Mounted w/ Feet | 1 If system location is level and concrete
| 2355 | Sigenergy Installation Kit For Wall-Mounted | 1 If system location is not level and concrete
| 1836 | Sigenergy Power Sensor 1Ph SP-CT-DH | 1 If system hasn’t been sold with BackUp Gateway
| 1836 | Sigenergy Power Sensor 1Ph SP-CT-DH | 1 If Existing PV On Site
Sigenergy Sigenstor Energy Controller 10.0 kW Three Phase | 2345 | Sigenergy Sigenstor Energy Controller 10.0 kW Three Phase | 1
| 1838 | Sigenergy Communication Module | 1
| 10017 | SCL 63A 4P IP65 ENC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 4
| 2329 | FuseBox MT10B163 Triple Pole 16A 10kA B Curve MCB | 1 If system hasn’t been sold with BackUp Gateway
| 1121 | Emlite Generation Meter - 3 Phase 100amp | 1
| 2354 | Sigenergy Installation Kit For Ground-Mounted w/ Feet | 1 If system location is level and concrete
| 2355 | Sigenergy Installation Kit For Wall-Mounted | 1 If system location is not level and concrete
| 2353 | Sigenergy Power Sensor 3Ph TP-CT-DH | 1 If system hasn’t been sold with BackUp Gateway
| 2353 | Sigenergy Power Sensor 3Ph TP-CT-DH | 1 If Existing PV On Site
Sigenergy Sigenstor Energy Controller 10.0kW - Single Phase | 2343 | Sigenergy Sigenstor Energy Controller 10kW - Single Phase | 1
| 1838 | Sigenergy Communication Module | 1
| 10017 | SCL 63A 4P IP65 ENC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 4
| 2323 | Fusebox 50A Single Pole 6kA B Curve MCB | 1 If system hasn’t been sold with BackUp Gateway
| 1152 | 100a Single Din Rail Gen Meter YTL DEM1A001 | 1
| 2354 | Sigenergy Installation Kit For Ground-Mounted w/ Feet | 1 If system location is level and concrete
| 2355 | Sigenergy Installation Kit For Wall-Mounted | 1 If system location is not level and concrete
| 1836 | Sigenergy Power Sensor 1Ph SP-CT-DH | 1 If system hasn’t been sold with BackUp Gateway
| 1836 | Sigenergy Power Sensor 1Ph SP-CT-DH | 1 If Existing PV On Site
Sigenergy Sigenstor Energy Controller 12.0 kW Three Phase | 2346 | Sigenergy Sigenstor Energy Controller 12.0 kW Three Phase | 1
| 1838 | Sigenergy Communication Module | 1
| 10017 | SCL 63A 4P IP65 ENC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 4
| 2330 | FuseBox MT10B323 Triple Pole 32A 10kA B Curve MCB | 1 If system hasn’t been sold with BackUp Gateway
| 1121 | Emlite Generation Meter - 3 Phase 100amp | 1
| 2354 | Sigenergy Installation Kit For Ground-Mounted w/ Feet | 1 If system location is level and concrete
| 2355 | Sigenergy Installation Kit For Wall-Mounted | 1 If system location is not level and concrete
| 2353 | Sigenergy Power Sensor 3Ph TP-CT-DH | 1 If system hasn’t been sold with BackUp Gateway
| 2353 | Sigenergy Power Sensor 3Ph TP-CT-DH | 1 If Existing PV On Site
Sigenergy Sigenstor Energy Controller 12.0kW - Single Phase | 2349 | Sigenergy Sigenstor Energy Controller 12.0kW - Single Phase | 1
| 1838 | Sigenergy Communication Module | 1
| 10017 | SCL 63A 4P IP65 ENC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 4
| 2324 | Fusebox 63A Single Pole 6kA B Curve MCB | 1 If system hasn’t been sold with BackUp Gateway
| 1152 | 100a Single Din Rail Gen Meter YTL DEM1A001 | 1
| 2354 | Sigenergy Installation Kit For Ground-Mounted w/ Feet | 1 If system location is level and concrete
| 2355 | Sigenergy Installation Kit For Wall-Mounted | 1 If system location is not level and concrete
| 1836 | Sigenergy Power Sensor 1Ph SP-CT-DH | 1 If system hasn’t been sold with BackUp Gateway
| 1836 | Sigenergy Power Sensor 1Ph SP-CT-DH | 1 If Existing PV On Site
Sigenergy Sigenstor Energy Controller 15.0 kW Three Phase | 2201 | Sigenergy Sigenstor Energy Controller 15.0 kW Three Phase | 1
| 1838 | Sigenergy Communication Module | 1
| 10017 | SCL 63A 4P IP65 ENC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 4
| 2275 | Fusebox 32A B type MCB 6ka 1P | 1 If system hasn’t been sold with BackUp Gateway
| 1121 | Emlite Generation Meter - 3 Phase 100amp | 1
| 2354 | Sigenergy Installation Kit For Ground-Mounted w/ Feet | 1 If system location is level and concrete
| 2355 | Sigenergy Installation Kit For Wall-Mounted | 1 If system location is not level and concrete
| 2353 | Sigenergy Power Sensor 3Ph TP-CT-DH | 1 If system hasn’t been sold with BackUp Gateway
| 2353 | Sigenergy Power Sensor 3Ph TP-CT-DH | 1 If Existing PV On Site
Sigenergy Sigenstor Energy Controller 17.0 kW Three Phase | 2347 | Sigenergy Sigenstor Energy Controller 17.0 kW Three Phase | 1
| 1838 | Sigenergy Communication Module | 1
| 10017 | SCL 63A 4P IP65 ENC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 4
| 2330 | FuseBox MT10B323 Triple Pole 32A 10kA B Curve MCB | 1 If system hasn’t been sold with BackUp Gateway
| 1121 | Emlite Generation Meter - 3 Phase 100amp | 1
| 2354 | Sigenergy Installation Kit For Ground-Mounted w/ Feet | 1 If system location is level and concrete
| 2355 | Sigenergy Installation Kit For Wall-Mounted | 1 If system location is not level and concrete
| 2353 | Sigenergy Power Sensor 3Ph TP-CT-DH | 1 If system hasn’t been sold with BackUp Gateway
| 2353 | Sigenergy Power Sensor 3Ph TP-CT-DH | 1 If Existing PV On Site
Sigenergy Sigenstor Energy Controller 20.0kW Three Phase | 2220 | Sigenergy Sigenstor Energy Controller 20.0kW Three Phase | 1
| 1838 | Sigenergy Communication Module | 1
| 10017 | SCL 63A 4P IP65 ENC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 4
| 2330 | FuseBox MT10B323 Triple Pole 32A 10kA B Curve MCB | 1 If system hasn’t been sold with BackUp Gateway
| 1121 | Emlite Generation Meter - 3 Phase 100amp | 1
| 2354 | Sigenergy Installation Kit For Ground-Mounted w/ Feet | 1 If system location is level and concrete
| 2355 | Sigenergy Installation Kit For Wall-Mounted | 1 If system location is not level and concrete
| 2353 | Sigenergy Power Sensor 3Ph TP-CT-DH | 1 If system hasn’t been sold with BackUp Gateway
| 2353 | Sigenergy Power Sensor 3Ph TP-CT-DH | 1 If Existing PV On Site
Sigenergy Sigenstor Energy Controller 25.0 kW Three Phase | 2279 | Sigenergy Sigenstor Energy Controller 25.0 kW Three Phase | 1
| 1838 | Sigenergy Communication Module | 1
| 10017 | SCL 63A 4P IP65 ENC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 4
| 2331 | FuseBox MT10B403 Triple Pole 40A 10kA B Curve MCB | 1 If system hasn’t been sold with BackUp Gateway
| 1121 | Emlite Generation Meter - 3 Phase 100amp | 1
| 2354 | Sigenergy Installation Kit For Ground-Mounted w/ Feet | 1 If system location is level and concrete
| 2355 | Sigenergy Installation Kit For Wall-Mounted | 1 If system location is not level and concrete
| 2353 | Sigenergy Power Sensor 3Ph TP-CT-DH | 1 If system hasn’t been sold with BackUp Gateway
| 2353 | Sigenergy Power Sensor 3Ph TP-CT-DH | 1 If Existing PV On Site
Sigenergy Sigenstor Energy Controller 3.6kW - Single Phase | 2348 | Sigenergy Sigenstor Energy Controller 3.6kW - Single Phase | 1
| 1838 | Sigenergy Communication Module | 1
| 10015 | SCL 32A AC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 2
| 2321 | Fusebox 20A Single Pole 6kA B Curve MCB | 1 If system hasn’t been sold with BackUp Gateway
| 1151 | 45a Single Din Rail Gen Meter | 1
| 2354 | Sigenergy Installation Kit For Ground-Mounted w/ Feet | 1 If system location is level and concrete
| 2355 | Sigenergy Installation Kit For Wall-Mounted | 1 If system location is not level and concrete
| 1836 | Sigenergy Power Sensor 1Ph SP-CT-DH | 1 If system hasn’t been sold with BackUp Gateway
| 1836 | Sigenergy Power Sensor 1Ph SP-CT-DH | 1 If Existing PV On Site
Sigenergy Sigenstor Energy Controller 6.0 kW Single Phase | 2334 | Sigenergy Sigenstor Energy Controller 6.0 kW Single Phase | 1
| 1838 | Sigenergy Communication Module | 1
| 10015 | SCL 32A AC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 2
| 2275 | Fusebox 32A B type MCB 6ka 1P | 1 If system hasn’t been sold with BackUp Gateway
| 1151 | 45a Single Din Rail Gen Meter | 1
| 2354 | Sigenergy Installation Kit For Ground-Mounted w/ Feet | 1 If system location is level and concrete
| 2355 | Sigenergy Installation Kit For Wall-Mounted | 1 If system location is not level and concrete
| 1836 | Sigenergy Power Sensor 1Ph SP-CT-DH | 1 If system hasn’t been sold with BackUp Gateway
| 1836 | Sigenergy Power Sensor 1Ph SP-CT-DH | 1 If Existing PV On Site
Sigenergy Sigenstor Energy Controller 8.0kW - Single Phase | 2350 | Sigenergy Sigenstor Energy Controller 8.0kW - Single Phase | 1
| 1838 | Sigenergy Communication Module | 1
| 10017 | SCL 63A 4P IP65 ENC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 3
| 2322 | Fusebox 40A Single Pole 6kA B Curve MCB | 1 If system hasn’t been sold with BackUp Gateway
| 1151 | 45a Single Din Rail Gen Meter | 1
| 2354 | Sigenergy Installation Kit For Ground-Mounted w/ Feet | 1 If system location is level and concrete
| 2355 | Sigenergy Installation Kit For Wall-Mounted | 1 If system location is not level and concrete
| 1836 | Sigenergy Power Sensor 1Ph SP-CT-DH | 1 If system hasn’t been sold with BackUp Gateway
| 1836 | Sigenergy Power Sensor 1Ph SP-CT-DH | 1 If Existing PV On Site
SolarEdge 10kW 1ph Inverter | 10086 | SolarEdge SE10000H 10kW HD Single Phase Inverter | 1
| 1005 | SolarEdge Current Transformer 100A Split Core | 2
| 10131 | SolarEdge P404 Optimiser | 1 Per Panel
| 1065 | SolarEdge MB Meter 1ph/3ph 230/400v | 1
| 1066 | SolarEdge Inverter Aerials | 1
SolarEdge 2.2kW 1ph Inverter | 1140 | SolarEdge SE2200H 2.2kW Inverter | 1
| 1005 | SolarEdge Current Transformer 100A Split Core | 2
| 10131 | SolarEdge P404 Optimiser | 1 Per Panel
| 1065 | SolarEdge MB Meter 1ph/3ph 230/400v | 1
| 1066 | SolarEdge Inverter Aerials | 1
SolarEdge 4kW 1ph Inverter | 10087 | SolarEdge SE4000H 4kW HD Single Phase Inverter | 1
| 1005 | SolarEdge Current Transformer 100A Split Core | 2
| 10131 | SolarEdge P404 Optimiser | 1 Per Panel
| 1065 | SolarEdge MB Meter 1ph/3ph 230/400v | 1
| 1066 | SolarEdge Inverter Aerials | 1
SolarEdge 5kW 1ph Inverter | 10088 | SolarEdge SE5000H 5kW HD Single Phase Inverter | 1
| 1005 | SolarEdge Current Transformer 100A Split Core | 2
| 10131 | SolarEdge P404 Optimiser | 1 Per Panel
| 1065 | SolarEdge MB Meter 1ph/3ph 230/400v | 1
| 1066 | SolarEdge Inverter Aerials | 1
SolarEdge 5kW 1ph Inverter | 10088 | SolarEdge SE5000H 5kW HD Single Phase Inverter | 1
| 1005 | SolarEdge Current Transformer 100A Split Core | 2
| 10131 | SolarEdge P404 Optimiser | 1 Per Panel
| 1065 | SolarEdge MB Meter 1ph/3ph 230/400v | 1
| 1066 | SolarEdge Inverter Aerials | 1
SolarEdge 6kW 1ph Inverter | 1331 | SolarEdge 6kW Home Wave Inverter | 1
| 1005 | SolarEdge Current Transformer 100A Split Core | 2
| 10131 | SolarEdge P404 Optimiser | 1 Per Panel
| 1065 | SolarEdge MB Meter 1ph/3ph 230/400v | 1
| 1066 | SolarEdge Inverter Aerials | 1
SolarEdge 8kW 1ph Inverter | 1139 | SolarEdge SE8000H 8kW Inverter | 1
| 1005 | SolarEdge Current Transformer 100A Split Core | 2
| 10131 | SolarEdge P404 Optimiser | 1 Per Panel
| 1065 | SolarEdge MB Meter 1ph/3ph 230/400v | 1
| 1066 | SolarEdge Inverter Aerials | 1
SolarEdge Home Hub 3.6kw 1ph Inverter | 1554 | SolarEdge Home Hub 3.6kw Inverter with Whole Hub Backup Potential 1PH | 1
| 1005 | SolarEdge Current Transformer 100A Split Core | 2
| 10131 | SolarEdge P404 Optimiser | 1 Per Panel
| 1065 | SolarEdge MB Meter 1ph/3ph 230/400v | 1
SolarEdge Home Hub 3kw 1ph Inverter | 1553 | SolarEdge Home Hub 3kw Inverter with Whole Hub Backup Potential 1PH | 1
| 1005 | SolarEdge Current Transformer 100A Split Core | 2
| 10131 | SolarEdge P404 Optimiser | 1 Per Panel
| 1065 | SolarEdge MB Meter 1ph/3ph 230/400v | 1
SolarEdge Home Hub 4kw 1ph Inverter | 1555 | SolarEdge Home Hub 4kw Inverter with Whole Hub Backup Potential 1PH | 1
| 1005 | SolarEdge Current Transformer 100A Split Core | 2
| 10131 | SolarEdge P404 Optimiser | 1 Per Panel
| 1065 | SolarEdge MB Meter 1ph/3ph 230/400v | 1
SolarEdge Home Hub 5kw 1ph Inverter | 1552 | SolarEdge Home Hub 5kw Inverter with Whole Hub Backup Potential 1PH | 1
| 1005 | SolarEdge Current Transformer 100A Split Core | 2
| 10131 | SolarEdge P404 Optimiser | 1 Per Panel
| 1065 | SolarEdge MB Meter 1ph/3ph 230/400v | 1
SolarEdge Home Hub 6kw 1ph Inverter | 1556 | SolarEdge Home Hub 6kw Inverter with Whole Hub Backup Potential 1PH | 1
| 1005 | SolarEdge Current Transformer 100A Split Core | 2
| 10131 | SolarEdge P404 Optimiser | 1 Per Panel
| 1065 | SolarEdge MB Meter 1ph/3ph 230/400v | 1
Solax 10kW 3ph AC Coupled Inverter | 1045 | SolaX X3 Retrofit 10000 Inverter | 1
Solax 10kW 3ph Hybrid Inverter | 10091 | SolaX X3 G4-V2 Hybrid 3 Phase Inverter HV 10.0kW | 1
Solax 3.7kW 1ph Hybrid Inverter | 1513 | Solax X-1 Hybrid 3.7-D-E. | 1
Solis 0.7kW 1ph String Inverter | 10107 | Solis Mini 0.7K String Inverter | 1
| 10015 | SCL 32A AC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 1
| 10128 | Solis WiFi Data Logging Stick | 1
| 2320 | Fusebox 6A Single Pole 6kA B Curve MCB | 1
| 1151 | 45a Single Din Rail Gen Meter | 1
Solis 1.5kW 1ph String Inverter | 1123 | Solis Mini 1.5K String Inverter | 1
| 10015 | SCL 32A AC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 2
| 10128 | Solis WiFi Data Logging Stick | 1
| 2321 | Fusebox 20A Single Pole 6kA B Curve MCB | 1
| 1151 | 45a Single Din Rail Gen Meter | 1
Solis 10kW 1ph Hybrid Inverter (S6) | 2724 | Solis 10kw Hybrid Inverter 1ph SOL-S6-EH1P10K-L-PLUS | 1
| 10144 | DC isolator 32A ISDC432 | 4
| 10017 | SCL 63A 4P IP65 ENC Isolator | 1
| 1152 | 100a Single Din Rail Gen Meter YTL DEM1A001 | 1
| 2323 | Fusebox 50A Single Pole 6kA B Curve MCB | 1
Solis 10kW 3ph String Inverter | 0 | Solis 10kW 3ph String Inverter | 1
| 10015 | SCL 32A AC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 2
| 10128 | Solis WiFi Data Logging Stick | 1
| 2330 | FuseBox MT10B323 Triple Pole 32A 10kA B Curve MCB | 1
| 1121 | Emlite Generation Meter - 3 Phase 100amp | 1
Solis 12kW 3ph String Inverter | 0 | Solis 12kW 3ph String Inverter | 1
| 10015 | SCL 32A AC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 4
| 10128 | Solis WiFi Data Logging Stick | 1
| 2330 | FuseBox MT10B323 Triple Pole 32A 10kA B Curve MCB | 1
| 1121 | Emlite Generation Meter - 3 Phase 100amp | 1
Solis 15kW 3ph String Inverter | 0 | Solis 15kW 3ph String Inverter | 1
| 10015 | SCL 32A AC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 4
| 10128 | Solis WiFi Data Logging Stick | 1
| 2330 | FuseBox MT10B323 Triple Pole 32A 10kA B Curve MCB | 1
| 1121 | Emlite Generation Meter - 3 Phase 100amp | 1
Solis 1kW 1ph String Inverter | 10109 | Solis Mini 1K String Inverter | 1
| 10015 | SCL 32A AC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 1
| 10128 | Solis WiFi Data Logging Stick | 1
| 2320 | Fusebox 6A Single Pole 6kA B Curve MCB | 1
| 1151 | 45a Single Din Rail Gen Meter | 1
Solis 2.5kW 1ph String Inverter | 10110 | Solis Mini 2.5k String Inverter | 1
| 10015 | SCL 32A AC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 2
| 10128 | Solis WiFi Data Logging Stick | 1
| 2321 | Fusebox 20A Single Pole 6kA B Curve MCB | 1
| 1151 | 45a Single Din Rail Gen Meter | 1
Solis 20kW 3ph String Inverter | 0 | Solis 20kW 3ph String Inverter | 1
| 10015 | SCL 32A AC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 4
| 10128 | Solis WiFi Data Logging Stick | 1
| 2331 | FuseBox MT10B403 Triple Pole 40A 10kA B Curve MCB | 1
| 1121 | Emlite Generation Meter - 3 Phase 100amp | 1
Solis 2kW 1ph String Inverter | 10111 | Solis Mini 2k String inverter | 1
| 10015 | SCL 32A AC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 2
| 10128 | Solis WiFi Data Logging Stick | 1
| 2321 | Fusebox 20A Single Pole 6kA B Curve MCB | 1
| 1151 | 45a Single Din Rail Gen Meter | 1
Solis 3.6kW 1ph Hybrid Inverter | 10101 | Solis Hybrid Inverter 3.6k | 1
| 10015 | SCL 32A AC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 2
| 10128 | Solis WiFi Data Logging Stick | 1
| 2321 | Fusebox 20A Single Pole 6kA B Curve MCB | 1
| 1151 | 45a Single Din Rail Gen Meter | 1
| 2320 | Fusebox 6A Single Pole 6kA B Curve MCB | 1
Solis 3.6kW 1ph Hybrid Inverter (S6) | 2756 | Solis 3.6k Hybrid Inverter S6-EH1P3.6K-L-PLUS | 1
| 10015 | SCL 32A AC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 2
| 2321 | Fusebox 20A Single Pole 6kA B Curve MCB | 1
| 1151 | 45a Single Din Rail Gen Meter | 1
| 2320 | Fusebox 6A Single Pole 6kA B Curve MCB | 1
Solis 3.6kW 1ph String Inverter | 10112 | Solis Mini 3.6k String Inverter | 1
| 10015 | SCL 32A AC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 2
| 10128 | Solis WiFi Data Logging Stick | 1
| 2321 | Fusebox 20A Single Pole 6kA B Curve MCB | 1
| 10085 | Solis Current Transformer (CT) Clamp | 1
| 1151 | 45a Single Din Rail Gen Meter | 1
Solis 3kW 1ph AC Coupled Inverter | 10090 | Solis AC coupled Inverter 3k | 1
| 10015 | SCL 32A AC Isolator | 1
| 10128 | Solis WiFi Data Logging Stick | 1
| 2321 | Fusebox 20A Single Pole 6kA B Curve MCB | 1
| 10085 | Solis Current Transformer (CT) Clamp | 1
| 2320 | Fusebox 6A Single Pole 6kA B Curve MCB | 1
Solis 3kW 1ph Hybrid Inverter | 10102 | Solis Hybrid Inverter 3k | 1
| 10015 | SCL 32A AC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 2
| 10128 | Solis WiFi Data Logging Stick | 1
| 2321 | Fusebox 20A Single Pole 6kA B Curve MCB | 1
| 1151 | 45a Single Din Rail Gen Meter | 1
| 2320 | Fusebox 6A Single Pole 6kA B Curve MCB | 1
Solis 3kW 1ph String Inverter | 10113 | Solis Mini 3k String Inverter | 1
| 10015 | SCL 32A AC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 2
| 10128 | Solis WiFi Data Logging Stick | 1
| 2321 | Fusebox 20A Single Pole 6kA B Curve MCB | 1
| 1151 | 45a Single Din Rail Gen Meter | 1
Solis 4.6kW 1ph Hybrid Inverter | 0 | Solis 4.6kW 1ph Hybrid Inverter | 1
| 10015 | SCL 32A AC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 2
| 10128 | Solis WiFi Data Logging Stick | 1
| 2275 | Fusebox 32A B type MCB 6ka 1P | 1
| 1151 | 45a Single Din Rail Gen Meter | 1
| 2320 | Fusebox 6A Single Pole 6kA B Curve MCB | 1
Solis 4kW 1ph String Inverter | 10118 | Solis String inverter 4k | 1
| 10015 | SCL 32A AC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 2
| 10128 | Solis WiFi Data Logging Stick | 1
| 2321 | Fusebox 20A Single Pole 6kA B Curve MCB | 1
| 10085 | Solis Current Transformer (CT) Clamp | 1
| 1151 | 45a Single Din Rail Gen Meter | 1
Solis 5kW 1ph Hybrid Inverter | 10104 | Solis Hybrid Inverter 5k | 1
| 10015 | SCL 32A AC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 2
| 10128 | Solis WiFi Data Logging Stick | 1
| 2275 | Fusebox 32A B type MCB 6ka 1P | 1
| 1151 | 45a Single Din Rail Gen Meter | 1
| 2320 | Fusebox 6A Single Pole 6kA B Curve MCB | 1
Solis 5kW 1ph Hybrid Inverter (S6) | 2713 | Solis 5kw Hybrid Inverter 1ph SOL-S6-EH1P5K-L-PLUS | 1
| 10015 | SCL 32A AC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 2
| 2275 | Fusebox 32A B type MCB 6ka 1P | 1
| 1151 | 45a Single Din Rail Gen Meter | 1
| 2320 | Fusebox 6A Single Pole 6kA B Curve MCB | 1
Solis 5kW 1ph String Inverter | 10119 | Solis String inverter 5k | 1
| 10015 | SCL 32A AC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 2
| 10128 | Solis WiFi Data Logging Stick | 1
| 2275 | Fusebox 32A B type MCB 6ka 1P | 1
| 10085 | Solis Current Transformer (CT) Clamp | 1
| 1151 | 45a Single Din Rail Gen Meter | 1
Solis 5kW 3ph String Inverter | 1444 | Solis Inverter 5kW Three Phase | 1
| 10015 | SCL 32A AC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 2
| 10128 | Solis WiFi Data Logging Stick | 1
| 2329 | FuseBox MT10B163 Triple Pole 16A 10kA B Curve MCB | 1
| 1121 | Emlite Generation Meter - 3 Phase 100amp | 1
Solis 6kW 1ph Hybrid Inverter | 10105 | Solis Hybrid Inverter 6k | 1
| 10015 | SCL 32A AC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 2
| 10128 | Solis WiFi Data Logging Stick | 1
| 2275 | Fusebox 32A B type MCB 6ka 1P | 1
| 1151 | 45a Single Din Rail Gen Meter | 1
| 2320 | Fusebox 6A Single Pole 6kA B Curve MCB | 1
Solis 6kW 1ph Hybrid Inverter (S6) | 2703 | Solis 6kw Hybrid Inverter 1ph SOL-S6-EH1P6K-L-PLUS | 1
| 10015 | SCL 32A AC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 2
| 2275 | Fusebox 32A B type MCB 6ka 1P | 1
| 1151 | 45a Single Din Rail Gen Meter | 1
| 2320 | Fusebox 6A Single Pole 6kA B Curve MCB | 1
Solis 6kW 1ph String Inverter | 1116 | Solis String Inverter 6k | 1
| 10015 | SCL 32A AC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 2
| 10128 | Solis WiFi Data Logging Stick | 1
| 2275 | Fusebox 32A B type MCB 6ka 1P | 1
| 10085 | Solis Current Transformer (CT) Clamp | 1
| 1151 | 45a Single Din Rail Gen Meter | 1
Solis 6kW 3ph String Inverter | 1938 | Solis S5-GR3P6K-DC Inverter 6.0kW 3-Phase | 1
| 10015 | SCL 32A AC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 2
| 10128 | Solis WiFi Data Logging Stick | 1
| 2329 | FuseBox MT10B163 Triple Pole 16A 10kA B Curve MCB | 1
| 1121 | Emlite Generation Meter - 3 Phase 100amp | 1
Solis 8kW 1ph Hybrid Inverter (S6) | 2602 | Solis 8kw Hybrid Inverter 1ph SOL-S6-EH1P8K-L-PLUS | 1
| 10144 | DC isolator 32A ISDC432 | 4
| 10017 | SCL 63A 4P IP65 ENC Isolator | 1
| 1152 | 100a Single Din Rail Gen Meter YTL DEM1A001 | 1
| 2322 | Fusebox 40A Single Pole 6kA B Curve MCB | 1
Solis 8kW 1ph String Inverter | 10121 | Solis String Inverter 8k Single Phase | 1
| 10017 | SCL 63A 4P IP65 ENC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 3
| 10128 | Solis WiFi Data Logging Stick | 1
| 2322 | Fusebox 40A Single Pole 6kA B Curve MCB | 1
| 10085 | Solis Current Transformer (CT) Clamp | 1
| 1151 | 45a Single Din Rail Gen Meter | 1
Solis 8kW 3ph String Inverter | 2013 | Solis 8kW 3phase String Inverter | 1
| 10015 | SCL 32A AC Isolator | 1
| 10144 | DC isolator 32A ISDC432 | 2
| 10128 | Solis WiFi Data Logging Stick | 1
| 2329 | FuseBox MT10B163 Triple Pole 16A 10kA B Curve MCB | 1
| 1121 | Emlite Generation Meter - 3 Phase 100amp | 1
Tesla Powerwall 3 | 10144 | DC isolator 32A ISDC432 | 3
| 1152 | 100a Single Din Rail Gen Meter YTL DEM1A001 | 1
| 1153 | Europa Enclosure 6 Module Weatherproof IP65 | 1
| 2180 | Type 2 1000v DC SPD - Powerwall 3 | 1 Per String

## Batteries
Battery kits — 22 models
Every battery, its parts and its banded extras.
Product | Item no. | Description (master list) | Quantity rule | Note / caveat | Correct?
Enphase IQ Battery 5P | (no parts in your spreadsheet)
Fox ESS EP11 | 1949 | Fox ESS EP11 10.36kWh Li-ion Battery | 1
| 2037 | Fox Junction Box for paralleling up to 4 EP Batteries (EP5 or EP11) | 1 per 4 batteries, none for a single battery
Fox ESS EP12 | 2526 | Fox ESS EP12 11.52kWh Li-ion Battery with Heating Element | 1
| 2037 | Fox Junction Box for paralleling up to 4 EP Batteries (EP5 or EP11) | 1 per 4 batteries, none for a single battery
Fox ESS EP5 | 1945 | Fox ESS EP5 5.18kWh Battery | 1
| 2037 | Fox Junction Box for paralleling up to 4 EP Batteries (EP5 or EP11) | 1 per 4 batteries, none for a single battery
Fox ESS EP6 | 2551 | Fox EP6 5.76kWh Battery | 1
| 2037 | Fox Junction Box for paralleling up to 4 EP Batteries (EP5 or EP11) | 1 per 4 batteries, none for a single battery
Huawei LUNA2000 Battery BMU | 1048 | Huawei Bracket LUNA2000 Battery BMU | 1
| 10075 | Huawei 5kW battery Luna 2000 | 1 Per 5kWh Sold
Pylon PowerCube H2 | (no parts in your spreadsheet)
PylonTech 2.4k Battery | 10062 | PylonTech 2.4 k Battery US2000C | 1 per 2.4kWh Sold
| 1148 | Mersen Multibloc 2 Pole Size 00 Battery Isolator | 1
| 1149 | Mersen 125A NH00 Fuse | 2
| 10063 | PylonTech Cable Pack 2m & 3m | 1
| 10066 | PylonTech Wall Mounting Bracket - 4 Batteries - Obsolete. | 1 per 4 Batteries
PylonTech Battery US2000B | 1101 | PylonTech Battery US2000B | 1 per 2.4kWh Sold
| 1148 | Mersen Multibloc 2 Pole Size 00 Battery Isolator | 1
| 1149 | Mersen 125A NH00 Fuse | 2
| 10063 | PylonTech Cable Pack 2m & 3m | 1
| 10066 | PylonTech Wall Mounting Bracket - 4 Batteries - Obsolete. | 1 per 4 Batteries
PylonTech Battery US5000 | (no parts in your spreadsheet)
Pylontech Battery US3000 | (no parts in your spreadsheet)
Pylontech Force H2 BMU with Base | (no parts in your spreadsheet)
Pylontech Force L2 BMU with Base | (no parts in your spreadsheet)
Q-Cell Q.SAVE 6.8kWh Battery B6.8S | 1391 | Q-Cell Q.SAVE 6.8kWh Battery B6.8S | 1 per 6.8kWh Sold
Signestor Batteries | 2108 | Sigenergy 5kWh Battery With LED | Quantity sold
| 1835 | Sigenergy 8kWh Battery With LED | Quantity sold
SolaX Triple Power HV 5.8kWh LFP Main Battery Master V2 | (no parts in your spreadsheet)
SolarEdge Home 10kW Battery | (no parts in your spreadsheet)
Solis IntelliHome 10kWh | 2700 | Solis IntelliHome 10kWh Battery | Quantity sold
1-1 batteries: nothing extra
| 2749 | 2-4 batteries: Victron Busbar 250a 6p | 2
| 1436 | 2-4 batteries: 300x220x120 PVC ADAPTABLE BOX | 2
| 2752 | 2-4 batteries: 50mm Tri Rated Cable Red TR50R pm | 2
| 2751 | 2-4 batteries: 50mm Tri Rated Cable Black TR50B pm | 2
| 2738 | 2-4 batteries: Copper Lug 50mm x M8 (Solis) | 10
| 1840 | 5-8 batteries: 8 Way Busbar | 2 | the 10kWh row of the review said this has no Wasp pick yet and asked for a flag; the 16kWh row said it was correct. Kept, flagged, pending a decision
| 1436 | 5-8 batteries: 300x220x120 PVC ADAPTABLE BOX | 2
| 2752 | 5-8 batteries: 50mm Tri Rated Cable Red TR50R pm | 2
| 2751 | 5-8 batteries: 50mm Tri Rated Cable Black TR50B pm | 2
| 2738 | 5-8 batteries: Copper Lug 50mm x M8 (Solis) | 20
Solis IntelliHome 16kWh | 2701 | Solis IntelliHome 16kWh Battery | Quantity sold
1-1 batteries: nothing extra
| 2749 | 2-4 batteries: Victron Busbar 250a 6p | 2
| 1436 | 2-4 batteries: 300x220x120 PVC ADAPTABLE BOX | 2
| 2752 | 2-4 batteries: 50mm Tri Rated Cable Red TR50R pm | 2
| 2751 | 2-4 batteries: 50mm Tri Rated Cable Black TR50B pm | 2
| 2738 | 2-4 batteries: Copper Lug 50mm x M8 (Solis) | 10
| 1840 | 5-8 batteries: 8 Way Busbar | 2 | the 10kWh row of the review said this has no Wasp pick yet and asked for a flag; the 16kWh row said it was correct. Kept, flagged, pending a decision
| 1436 | 5-8 batteries: 300x220x120 PVC ADAPTABLE BOX | 2
| 2752 | 5-8 batteries: 50mm Tri Rated Cable Red TR50R pm | 2
| 2751 | 5-8 batteries: 50mm Tri Rated Cable Black TR50B pm | 2
| 2738 | 5-8 batteries: Copper Lug 50mm x M8 (Solis) | 20
Solis IntelliHome 5kWh | 2699 | Solis IntelliHome 5kWh Battery | Quantity sold
| 2634 | Copper Lug 35mm x M8 | 2
Tesla AC Powerwall 13.5kwh Battery | 10071 | Tesla AC Powerwall 13.5kwh Battery | 1
| 10072 | Tesla Accessory Pack | 1 per Powerwall 2
| 10073 | Tesla Gateway Connection Box | 1
| 1315 | Tesla Extra Neurio Meter Kit comprising of 1 additional meter & 2 x CT Clamps | 1
| 10015 | SCL 32A AC Isolator | 1 per Powerwall 2
| 10074 | Tesla Powerwall Stack Bracket | No. of Powerwalls minus 1
| 2176 | Powerwall 2 Battery Pack | 1
Tesla Powerwall 3 | 10073 | Tesla Gateway Connection Box | 1
| 1514 | Tesla Fuse Link 100A Ceramic Cartridge | 1
| 1515 | 125A Fuse Holder Sp (fuse-holder for Tesla 22x58 fuse-links) | 1
| 2325 | FuseBox RTA1001002S RCD A TYPE 100A 100mA | 1
| 1006 | Battery Fixings | 2
| 10017 | SCL 63A 4P IP65 ENC Isolator | 1
| 2323 | Fusebox 50A Single Pole 6kA B Curve MCB | 1

## Roof types
Roof and mounting — 9 tile types
The mounting parts for each tile type. Clamps, end caps, splices and rail are handled by the mounting section, so they are excluded from this block at pick time.
Product | Item no. | Description (master list) | Quantity rule | Note / caveat | Correct?
Pan Tiles | 10201 | Fastensol Universal clamp Black | Quantity Required on Easy PV
| 10196 | Fastensol Rail End Cap Black F-REC-B | Quantity Required on Easy PV
| 10197 | Fastensol Rail Splice F-RC-200S | Quantity Required on Easy PV
| 1030 | Fastensol Rail 3.4m F-MR-3400S | Quantity Required on Easy PV
| 2314 | Fastensol Lead Flashing | 1 Per Array
| 2121 | MC4-Evo2A 1500V DC Connector Male & Female pack | 1 Pack Per String +1
| 10198 | Fastensol Pantile Roof Hook Portrait F-TH01 | Quantity Required on Easy PV + 20% If Landscape
| 0 | Solar Panels | Quantity Required on Easy PV
| 2315 | Fastensol Bird protection kit | Only if on quote
| 2175 | Bird Proofing Critter Clips | Only if BP sold, 10 per Panel
| 1569 | Viridian ARC04 | Only if sold under Advanced Safety Package, 2 per String
Peg Tiles | 10201 | Fastensol Universal clamp Black | Quantity Required on Easy PV
| 10196 | Fastensol Rail End Cap Black F-REC-B | Quantity Required on Easy PV
| 10197 | Fastensol Rail Splice F-RC-200S | Quantity Required on Easy PV
| 1030 | Fastensol Rail 3.4m F-MR-3400S | Quantity Required on Easy PV
| 1068 | Fastensol T-Nut & Bolt | 1 Set Per Hook
| 2314 | Fastensol Lead Flashing | 1 Per Array
| 2121 | MC4-Evo2A 1500V DC Connector Male & Female pack | 1 Pack Per String +1
| 10189 | Renusol Roof Hook UK Plain Tile R420181 | Quantity Required on Easy PV + 20% If Landscape
| 10174 | Hookstop (Black Tiles) | Same Quantity as Roof Hooks
| 0 | Solar Panels | Quantity Required on Easy PV
| 2315 | Fastensol Bird protection kit | Only if on quote
| 2175 | Bird Proofing Critter Clips | Only if BP sold, 10 per Panel
| 1569 | Viridian ARC04 | Only if sold under Advanced Safety Package, 2 per String
Rosemary Tiles | 10201 | Fastensol Universal clamp Black | Quantity Required on Easy PV
| 10196 | Fastensol Rail End Cap Black F-REC-B | Quantity Required on Easy PV
| 10197 | Fastensol Rail Splice F-RC-200S | Quantity Required on Easy PV
| 1030 | Fastensol Rail 3.4m F-MR-3400S | Quantity Required on Easy PV
| 1068 | Fastensol T-Nut & Bolt | 1 Set Per Hook
| 2314 | Fastensol Lead Flashing | 1 Per Array
| 2121 | MC4-Evo2A 1500V DC Connector Male & Female pack | 1 Pack Per String +1
| 10189 | Renusol Roof Hook UK Plain Tile R420181 | Quantity Required on Easy PV + 20% If Landscape
| 10174 | Hookstop (Black Tiles) | Same Quantity as Roof Hooks
| 0 | Solar Panels | Quantity Required on Easy PV
| 2315 | Fastensol Bird protection kit | Only if on quote
| 2175 | Bird Proofing Critter Clips | Only if BP sold, 10 per Panel
| 1569 | Viridian ARC04 | Only if sold under Advanced Safety Package, 2 per String
Cambrian Tiles | 10201 | Fastensol Universal clamp Black | Quantity Required on Easy PV
| 10196 | Fastensol Rail End Cap Black F-REC-B | Quantity Required on Easy PV
| 10197 | Fastensol Rail Splice F-RC-200S | Quantity Required on Easy PV
| 1030 | Fastensol Rail 3.4m F-MR-3400S | Quantity Required on Easy PV
| 1068 | Fastensol T-Nut & Bolt | 1 Set Per Hook
| 2314 | Fastensol Lead Flashing | 1 Per Array
| 2121 | MC4-Evo2A 1500V DC Connector Male & Female pack | 1 Pack Per String +1
| 10189 | Renusol Roof Hook UK Plain Tile R420181 | Quantity Required on Easy PV + 20% If Landscape
| 2313 | Fastensol Genius Speed Flash | Same Quantity as Roof Hooks
| 0 | Solar Panels | Quantity Required on Easy PV
| 2315 | Fastensol Bird protection kit | Only if on quote
| 2175 | Bird Proofing Critter Clips | Only if BP sold, 10 per Panel
| 1569 | Viridian ARC04 | Only if sold under Advanced Safety Package, 2 per String
Slate Tiles | 10201 | Fastensol Universal clamp Black | Quantity Required on Easy PV
| 10196 | Fastensol Rail End Cap Black F-REC-B | Quantity Required on Easy PV
| 10197 | Fastensol Rail Splice F-RC-200S | Quantity Required on Easy PV
| 1030 | Fastensol Rail 3.4m F-MR-3400S | Quantity Required on Easy PV
| 1068 | Fastensol T-Nut & Bolt | 1 Set Per Hook
| 2314 | Fastensol Lead Flashing | 1 Per Array
| 2121 | MC4-Evo2A 1500V DC Connector Male & Female pack | 1 Pack Per String +1
| 10189 | Renusol Roof Hook UK Plain Tile R420181 | Quantity Required on Easy PV + 20% If Landscape
| 2313 | Fastensol Genius Speed Flash | Same Quantity as Roof Hooks
| 0 | Solar Panels | Quantity Required on Easy PV
| 2315 | Fastensol Bird protection kit | Only if on quote
| 2175 | Bird Proofing Critter Clips | Only if BP sold, 10 per Panel
| 1569 | Viridian ARC04 | Only if sold under Advanced Safety Package, 2 per String
Flat Roof | 2121 | MC4-Evo2A 1500V DC Connector Male & Female pack | 1 Pack Per String +1
| 0 | Solar Panels | Quantity Required on Easy PV
| 1569 | Viridian ARC04 | Only if sold under Advanced Safety Package, 2 per String
In-Roof | 2121 | MC4-Evo2A 1500V DC Connector Male & Female pack | 1 Pack Per String +1
| 1569 | Viridian ARC04 | Only if sold under Advanced Safety Package, 2 per String
Ground Mount | 2121 | MC4-Evo2A 1500V DC Connector Male & Female pack | 1 Pack Per String +1
| 10144 | DC isolator 32A ISDC432 | 1 Per String
| 0 | Solar Panels | Quantity Required on Easy PV
| 1569 | Viridian ARC04 | Only if sold under Advanced Safety Package, 2 per String
Metal Roof | 1057 | Fastensol - 140mm Mini Rail (Commercial) | Quantity Required on Easy PV If panels laid Landscape Note: Not Renusol of K2
| 1058 | Fastensol - 400mm Mini Rail (Commercial) | Quantity Required on Easy PV If panels laid Portrait Note: Not Renusol of K2
| 10201 | Fastensol Universal clamp Black | Quantity Required on Easy PV Note: Not Mids or End Clamps
| 1569 | Viridian ARC04 | Only if sold under Advanced Safety Package, 2 per String
| 2121 | MC4-Evo2A 1500V DC Connector Male & Female pack | 1 Pack Per String +1
| 2315 | Fastensol Bird protection kit | Only if on quote
| 2175 | Bird Proofing Critter Clips | Only if BP sold, 10 per Panel
| 0 | Solar Panels | Quantity Required on Easy PV
| 1058 | Fastensol - 400mm Mini Rail (Commercial) | Quantity Required on Easy PV If panels laid Portrait Note: Not Renusol of K2

## Additional items
Additional items — 10 items
Chargers have moved to their own sheet. The Advanced Safety Package and Tigo are handled by their own sections to avoid double-picking.
Product | Item no. | Description (master list) | Quantity rule | Note / caveat | Correct?
Advanced Safety Package | 1569 | Viridian ARC04 | 2 per String
Eddi Hot Water Device | 10003 | MyEnergi Eddi (Energy Diverter) | 1
| 2043 | 20A DP Fused Switch With Flex Outle | 1
| 10004 | MyEnergi Zappi Harvi (Energy Harvester) | 1
| 10002 | Myenergi 100A 16mm² Current Transformer with 5m Cable | 2
External Meter Cabinet | 1963 | Obsolete. Use Item 2179 MCG Outside Meter Box | 1
Fox ESS EPS Kit | 10032 | Earth Rod Clamp | 1
| 10033 | Earthing Box Green | 1
| 2042 | Weatherproof 13A 2 Gang RCD Switched Socket IP66 | 1
| 10019 | 8 way earth bar | 1
Powerwall 3 Expansion Kit Stacked on Existing PW3 | 2299 | Tesla Powerwall 3 Expansion Unit | Quantity Sold
| 2300 | Tesla Powerwall 3 - Multi PW stacking kit 1978070-00-B | Same as PW3X Quantity
| 2302 | Tesla Powerwall 3 Expansion Unit 0.5m Harness | Same as PW3X Quantity
Powerwall 3 Expansion Kit Wall Mounted next to Existing PW3 | 2299 | Tesla Powerwall 3 Expansion Unit | Quantity Sold
| 2301 | Tesla Powerwal 3 Expansion - Wall Mounting Bracket | Same as PW3X Quantity
| 2303 | Tesla Powerwall 3 Expansion Unit 2m Harness | Chosen based on distance from existing PW3
| 2304 | Tesla Powerwall 3 Expansion Unit 4m Harness | Chosen based on distance from existing PW3
Sigenergy Gateway HomeMax Single Phase | 1837 | Sigenergy Gateway HomeMax Single Phase | 1
| 2375 | Schneider Panel IP66 800 x 600 x 200 for 1 Phase | 1 If Gateway is to be installed outside
Sigenergy Sigenstor Gateway HomeMax Three Phase | 2200 | Sigenergy Sigenstor Gateway HomeMax Three Phase | 1
Solar iBoost | 10151 | Solar iBoost | 1
| 2043 | 20A DP Fused Switch With Flex Outle | 1
Tigo Monitoring | 1120 | Tigo Cloud Connect Advanced Kit with TAP | 1
| 0 | Tigo TAP | Panel Quantity Minus 15 divided by 15 Rounded Up
| 1436 | 300x220x120 PVC ADAPTABLE BOX | 1
| 1748 | 13A DP Switched Fused Spur White | 1
| 1747 | 1 Gang White Back Box | 1
| 0 | 3A Fuse | 1

## Garage or outside
Inverter location kit
Applied when the inverter is in a garage. "Outside" has no parts in your spreadsheet, so it only raises a flag.
Product | Item no. | Description (master list) | Quantity rule | Note / caveat | Correct?
Garage | 10145 | FireAngel Multi-Sensor Smoke Alarm | 5
| 10146 | FireAngel RF Radio Module | 5
| 10147 | MagPly Fire Rated Board - (1200 x 600mm x 6mm) | 1 per Inverter
| 1028 | Shuttering Plywood 18mm (1200mm x600mm x 18mm) | 1 per Inverter
Outside | (no parts in your spreadsheet)

## Car chargers
Car chargers — 19 units
The charger unit only; no ancillaries are picked. "EV to bypass battery" adds a board, tails and a henley block — see the Fuseboards sheet.
Item no. | Description | In stock | Correct?
10006 | MyEnergi Zappi EV Charger 7kw Tethered White | 0
10008 | MyEnergi Zappi EV Charger 7kw Untethered White | 0
1132 | MyEnergi Zappi V2.1 22kW EV Charging Station (Tethered) Black 2H22TB-6 | 0
1156 | ROLEC QUBEV SMART 7.4KW Intelligent EV Charging Unit | 2
2051 | MyEnergi Zappi V2.1 22kW EV Charger (Tethered) White | 0
2066 | EO Mini Pro 3 7.2kW EV Charger | 1
2222 | Sigenergy EV AC Charger 7 kW 4G 5m Cable Type 2 White | 1
2261 | MyEnergi Zappi Multiphase 7/22KW V2.1 Tethered Black | 0
2296 | MyEnergi Zappi Multiphase 7/22KW V2.1 Tethered White | 0
2297 | ICS 7kW AC Intelligent EV Charging Station with 32A Type 2 Tethered Lead Black | 0
2298 | Black Untethered Myenergi Zappi V2.1 7.2kW - 22kW EV Charging with 32A Type 2 Socket | 1
2352 | Sigenergy EV AC Charger 22 kW 4G 5m Cable Type 2 White | 0
2381 | Fox L Series 7kw EV Charger | 0
2400 | 5m Hypervolt Home 3 Pro Black - Tethered | 0
2486 | Zappi Glo EV Charger 7kw Tethered | 2
2645 | Hypervolt Home 3 Pro 10m Slate Grey - Tethered | 0
2651 | Hypervolt Home 3 Pro 10m White - Tethered | 0
2681 | Hypervolt Home 3 Pro 7.5m Slate Grey | 0
2730 | Sigenergy EV DC Charging Module 12kW 10m Cable | 0

## Fuseboards
Fuseboard selection
Ways = 3 for the first inverter, +2 for each further inverter, +1 per EV charger. The smallest board that fits is chosen. Gateway sold: no board for the solar, but the EV still gets one. No gateway + EV bypass: two boards.
Applies to | Ways | Item no. | Description | In stock | Note | Correct?
Indoors | 7 | 2318 | Fusebox 7 Way CU with 100A Main Switch & T2 SPD | 37 | stated size is usable ways
Indoors | 8 | 2271 | Fusebox 8 Way Consumer Unit with 100A Main Switch | 0 | stated size is usable ways
Indoors | 10 | 2319 | Fusebox 10 Way Consumer Unit with 100A Main Switch and Type 2 SPD | 0 | stated size is usable ways
Indoors | 11 | 2235 | Fusebox 11 Way CU with 100A Main Switch & SPD | 5 | stated size is usable ways
Indoors | 15 | 2451 | Fusebox 15 Way Consumer Unit +100A Main Switch | 1 | stated size is usable ways
Outdoors | 6 | 2493 | WISKA 6 Way Indubox Enclosure 1306 BR/W | 18 | loses 3 ways to SPD + main switch
Outdoors | 12 | 2550 | Wiska 12 way Indubox Enclosure 1312R/W | 26 | loses 3 ways to SPD + main switch
EV bypass | 6 |  | 6 way fuseboard |  | sized as a 6 way and taken from the same range as the main board — Fusebox indoors, Wiska Indubox outdoors
EV bypass |  | 2260 | Meter Tails 2m
EV bypass |  | 1427 | WT Henley 100A Single Pole Connector Block
Pack (ancillaries) |  |  | Non-Tesla Fuseboard Pack — 2319, 2362 |  | the pack's own consumer unit is dropped; the board comes from the location and way count
Pack (ancillaries) |  |  | Tesla Fuseboard Pack — 10050, 10026, 10025, 2318, 1750, 10019, 10033, 10032, 10031, 1742, 2014, 1915, 1138, 2119 |  | the pack's own consumer unit is dropped; the board comes from the location and way count
Pack (ancillaries) |  |  | 3 Phase Fuseboard Pack — no codes in your spreadsheet |  | the pack's own consumer unit is dropped; the board comes from the location and way count

## Tigo
Tigo optimisers and monitoring
Optimisers are counted separately from the monitoring kit.
Item no. | Description | Rule | Correct?
10129 | Tigo Optimiser | one per panel (defaults to the panel count)
1120 | Tigo Cloud Connect Advanced Kit with TAP | 1 per job when the monitoring kit is included
2462 | Tigo TAP | 1 per additional array — the kit carries the first array's TAP
| 1436 300x220x120 PVC adaptable box | no longer picked — the older Tigo kit carried this
| 1748 13A DP switched fused spur | no longer picked — the older Tigo kit carried this
| 1747 1 gang white back box | no longer picked — the older Tigo kit carried this
| 3A fuse | no longer picked — the older Tigo kit carried this

## Warnings
Every warning the tool can raise — 38
These appear under NEEDS MANUAL CHECK on the pick list. Values the tool fills in are shown as …
Warning | Correct?
20% hook uplift applied. The spreadsheet's Roof Kit Builder applies ×1.2 unconditionally while the handover says the structural calc already includes it — settle which rule is right, it changes every job.
"…" has no parts in the spreadsheet.
"EV to bypass battery" is ticked but no charger is selected. The supply parts are picked without a charger — confirm that is right.
… batteries is outside the banded logic (1–8). Busbar, box, cable and lug quantities must be worked out by hand.
… batteries: 2037 parallels up to 4. … boxes shown — confirm that is how more than four are wired.
… Tigo optimisers against … panels. More optimisers than panels — check the quote.
… needs … ways but the largest … board held is …. Work this one out by hand.
… has no item numbers in the spreadsheet — listed by description only, every line must be coded by hand.
… normally carries … (…). Left out — the board is chosen by the location and way count instead.
… in the 3 phase pack (…): ….
… on the EV bypass (…): ….
… (…) has none in stock. Chosen as the smallest … board that fits ….
… is retired in the master list ("…
3 phase board needs … ways but the largest held is …. Work it out by hand.
Add-on job. Only new items are exploded — check every line against the base job before picking.
Car chargers are picked as the unit only. The additional-items entries these
EV bypassing the battery with no gateway — two boards, keeping the solar and the EV separate.
Gateway location not answered on …. …
Gateway sold, so no fuseboard is picked for the solar.
More than one charger with "EV to bypass battery". One board, one set of tails and one henley block are picked — confirm a single supply covers them all.
Neither battery units nor kWh set. Battery scaling cannot be applied.
No EasyPV parts list. Clamp, end cap, splice and rail quantities are estimated from the layout and marked CHECK. Josh flags this as the biggest accuracy gap — get an export with the parts list page.
No picking logic for "…". The spreadsheet lists this battery but holds no parts against it — nothing exploded.
No picking logic for "…". Nothing exploded — add it to the Inverter List.
Panel count not set. Bird proofing and panel lines cannot be calculated.
Panel not matched to a Wasp code. Pick the panel from the dropdown in section 3, or add the code by hand — the spreadsheet holds "0" against Solar Panels so it can never resolve this on its own.
Roof …: no parts list and no layout entered. Clamp, end cap, splice and rail quantities cannot be estimated.
Roof …: tile type not in the logic. Hook, flashing and hook-stop parts cannot be selected.
Service / snagging pick. Pick only what the described work needs.
String count not set. MC4 packs and arc boxes cannot be calculated.
Tigo kit is the kit plus TAPs only. The spreadsheet's older Tigo kit also carried ${DATA.tigo.dropped.join(
Tigo kit item number … is not in the master item list. Wasp will reject this line.
Tigo monitoring kit included with no optimisers. Confirm that is right.
Both boards are from the … range because the location is set to …. If only one of them is going outside, swap it by hand.
Existing solar or battery on site — check isolators, meters and fuseboard parts are not already fitted.
No Wasp code for "…" — excluded from the import file.
Roof …: parts-list mode is on but no mounting figures were set.
Roof …: roof hook count not set — hook and per-hook lines are CHECK.

## Applied
What your review changed — 21 items
Every entry you made in the returned workbook and what it changed in the tool. Nothing here needs action; it is the audit trail.
Area | Where | What changed | Your words | Correct?
Inverter | S6 3.6 / 5 / 6kW | WiFi stick 10128 removed from all three kits | doesn't need the wifi stick
Inverter | S6 3.6 / 5 / 6kW | 6A MCB 2320 kept, no longer flagged | does need the 6A MCB
Battery | Fox EP6 and EP12 | Junction box 2037 confirmed, flag removed | Is needed for EP6 / EP12 as well
Battery | IntelliHome 2-4 band | Busbar relabelled 6 way; 2749 confirmed as the right part | Correct this, I meant 6 way
Battery | IntelliHome all bands | Adaptable box 1436 confirmed, flag removed | The substitution is correct
Battery | IntelliHome all bands | Tri-rated cable stays at qty 2 of each, flag removed | this is what I meant so 2m is required
Battery | IntelliHome all bands | 50mm lug 2738 confirmed, flag removed | Correct
Battery | IntelliHome 5kWh | 32mm lug 2634 confirmed, flag removed | Correct
Battery | IntelliHome 5-8 band | 8 way busbar 1840 kept but still flagged | two rows of the review disagreed — see Check these
Car charging | Every charger | 32A Type A RCBO 2237 added, 1 per charger | Always add a 32A Type A RCBO with every EV charger
Car charging | Tesla Wall Connector | Matt:e 1899 + 40A MCB 2322 coded instead of the RCBO | apart from the Tesla Wall connector
Car charging | EV bypass board | Now follows the location rule; Europa 1153 dropped | Fusebox inside, Wiska Indubox outside, the Europa is obsolete
Car charging | EV bypass henley block | Changed from 1916 to 1427 | 1427 is correct
Fuseboards | Indoor ladder | 4 way 2711 removed — 7 way is now the minimum | put 7 way as minimum size, ignore 4 way
Fuseboards | Outdoor range | Wiska 6 and 12 way confirmed | correct
Fuseboards | 3 Phase pack | Fully coded: board by inverter count plus 9 parts | full specification given
Block 1 | Hook uplift | x1.2 tickbox kept as an option | keep the option to increase by 1.2x
Block 1 | MC4 packs | strings + 1 confirmed | keep the +1
Export | Site / Location / Customer Number | Restored as optional fields, written when filled | leave for manual input but not mandatory
Batteries | 8 models with no parts | Left as they are | don't worry about it
Engine | "1 Per Every N Panels" | Rule added — the 3 Enphase kits now resolve | found by the review sweep, not raised by you